## Action Plan & Drawing
EMERGENCY ACTION PLAN
|  | EMERGENCY ACTION |  |  | SYMBOLS FOR PLAN
Escape Route
If You Discover a Fire
Room template
Single Doors
Double Doors
Double Swing Door
Leave the Building by Nearest available exit
Drawing Label
Running Man Exit Sign
|  | When the Fire Alarm Sounds |  |  |  |  | (Normally On)
|  |  | Report to Assembly Point at Carpark opposite Main Entrance |  |  |  | Emergency Light
(Normally Off)
Smoke Detector
Leave the Building by Nearest available exit
Fire Alarm Panel
Push Button Fire Alarm
Do not return to the building until authorised to do so
Fire Extinguisher
First Aid Station
|  |  | EMERGENCY ACTION PLAN |  |  |  | Emergency Phone
| Primary Escape Route |  |  | Fire Extinguisher |  |  | Primary Escape Route
| Secondary Escape Route |  |  | First Aid Station |  |  | Secondary Escape Route
| Push Button Fire Alarm |  |  | Fire Alarm Panel |  |  | You are Here
Link to Booklet on ISO Symbols
Print Area Set for A4 Landscape Format as aligned above |  |  |  |  | Copy Symbols to drawing area
and resize and update text as required
ROOM
NAME
ESCAPE ROUTE
TITLE
S
E
FAP
YOU ARE HERE
Operate Nearest Fire Alarm
Fight the fire if safe and trained to do so
Leave the Building by
Nearest Available Exit
Report to Assembly Point at
Carpark opposite Main Entrance
Call the Fire Brigade by
Telephoning 112 or 999
Do not use Lifts
Do not return to the Building
until authorised to do so
Office 13
Meeting Room 1
Office 11
Office 12
Office 9
Office 10
WC
Boiler Room
Office 7
Female WC
Male WC
Office 2
Store
Office 1
Elec Panel
Office 3
Reception
Room1
Warehouse
Canteen
FAP
Example Building layout
Bay Door
Bay Door
FAP
Bay Door
Bay Door
Office 5
Office 6
Yard

## Action Plan & Drawing (2)
EMERGENCY ACTION PLAN
|  | EMERGENCY ACTION |  |  | SYMBOLS FOR PLAN
Escape Route
If You Discover a Fire
Room template
Single Doors
Double Doors
Double Swing Door
Leave the Building by Nearest available exit
Drawing Label
Running Man Exit Sign
|  | When the Fire Alarm Sounds |  |  |  |  | (Normally On)
|  |  | Report to Assembly Point at Carpark opposite Main Entrance |  |  |  | Emergency Light
(Normally Off)
Smoke Detector
Leave the Building by Nearest available exit
Fire Alarm Panel
Push Button Fire Alarm
Do not return to the building until authorised to do so
Fire Extinguisher
First Aid Station
|  |  | EMERGENCY ACTION PLAN |  |  |  | Emergency Phone
| Primary Escape Route |  |  | Fire Extinguisher |  |  | Primary Escape Route
| Secondary Escape Route |  |  | First Aid Station |  |  | Secondary Escape Route
| Push Button Fire Alarm |  |  | Emergency Phone |  |  | You are Here
Link to Booklet on ISO Symbols
Print Area Set for A4 Landscape Format as aligned above |  |  |  |  | Copy Symbols to drawing area
and resize and update text as required
ROOM
NAME
ESCAPE ROUTE
TITLE
GROUND FLOOR LAYOUT
S
E
FAP
YOU ARE HERE
Operate Nearest Fire Alar
Fight the fire if safe and trained to do so
Leave the Building by
Nearest Available Exit
Report to Assembly Point at
Carpark opposite Main Entrance
Call the Fire Brigade by
Telephoning 112
Do not use Lifts
Do not return to the Building
until authorised to do so

## Fire Safety Checklist
Fire Safety Management Checks
| Documentation | Yes | Fire Safety Register is Maintained and Available for Inspection | …
|  | N/A | The responsible person and staff fire safety roles for the premises and site are recorded, clearly defined and communicated. | Yes
|  | … | Fire Safety Management Policy and Procedures are defined | No
|  | … | Emergency Action Notices and Evacuation Planns are displayed throughout the building within rooms clearly indicating the escape route and location of assembly point(s). Emergency action notices also to be located at fire alarm call points. | N/A
|  | … | Staff are trained/inducted appropriate to their assigned fire safety duties e.g. regular fire safety equipment checks, emergency response, use of extinguishers, managing evacuation, controlling fire alarm panel, etc.
|  | … | Records of fire safety training and induction of new staff are recorded
|  | … | Regular checks (daily/weekly/monthly) by staff are recorded with any service and maintenance actions noted and closed out
|  | … | Fire Safety Equipment is serviced and maintained on a periodic basis by competent personnel with callout arrangments in place.
Comments:
Fire Safety Management Checks
| Fire Alarm System | q | Fire Alarm Panel Operating Normally (Power On & No Faults) ... Daily Check
|  | q | The Fire Alarm activiated using a Manual Call Point to Check Alarm Working and Fire Alarm Call Points not obtructed from view ... Weekly Check
|  | q | Annual & Quarterly Checks Completed by Competent Person & Certificate mounted beside Fire Alarm Panel
| Emergency Lighting | q | Exit Lights & Directional Signs Working (Normally On) ...Weekly Check
|  | q | LEDs in Non-Maintained Lights Working (Normally Off) ... Weekly Check
|  | q | Emergency Lighting on all Indoor and Outdoor Escape Routes, Assembly Areas
and Toilets
|  | q | Annual & Quarterly Checks Completed by Competent Person & Certified.
| Fire Extinguishers | q | Fire Extinguishers mounted in their designated place with fire point signage and instructions on use ... Monthly Check
|  | q | Fire Extinguishers have tags in place, no lost pressure or obvious damage
... Monthly Check
|  | q | Annual Checks Completed by Competent Person & Certified and shown on Extinguisher label
| Escape Routes & Exit Doors | q | Escape Routes are Free from Obstruction ... Daily Check
|  | q | Escape Doors have simple fastenings on the inside and can be oppened immediately and easily - thumb turn or push bar to unlock
|  | q | Escape Doors can be opened immediately and easily
| Fire Doors | q
q
q
q
Comments:
FIRE SAFETY
REGISTER

## Sheet1
Lough Allen College
PE / Courts
[7 empty] | Room 15 |  | Room 16
| Art Room |  | DCG/TG | Room 17
New Building
[7 empty] | Dep. Principal | Room 6
Office
Room 5
[5 empty] | Room 7 |  | Career
[5 empty] | Home Economics |  | Guidance
|  |  | Room 8 |  |  |  | Pastoral
|  |  | Science |  |  |  | Care
[6 empty] | Resource | Tuck | Room 4
[6 empty] | Room | Shop
Girls Toilets |  | Store | Staff Toilets
Room 3
General Purpose Area
Boys Toilets |  | Caretakers Store |  |  |  | (GP)
Room 2
(Computer)
Room 9
|  | Metalwork | [5 empty] | Staff Room
stage
Principals